## Table2
Table S2. Commercial ELISA Reagents and Conditions
Target Protein | Alias | Assay Source | Cat. No. | Recommended Use(s) | Sensitivity (ng/ml) | Upper Limit of Quantification (ng/ml) | Sample Volume (ul) | Buffer Volume (ul) | Dilution Factor | Sample Preparation | Assay Time | Controls provided? | Substrate | Measure
BMP7 |  | RayBio | ELH-BMP7-001 | Supernatants, serum, plasma | 0.01 | 10 | 100 | 0 | 1 | "if samples need dilution…" | 7hr | N | TMB | 450nm
CHI3L1 | YKL-40 | Quidel | 8020 | Serum | 20 | 300 | 20 | 100 | 6 | 20ul samp. + 100ul buff. | 5.5hr | Y (high/Low) 1 each | PNPP tablets | 405nm
TACSTD1 | Ep-CAM | BioVendor | RD194024100R | Supernatants, Serum | 1.67 (U/ml) | 1000U/ml | 50 | 100 | 3 | 50ul + 100ul dilution buffer | 4hr | Y (high/Low) 1 each | TMB | 450nm
LCN2 | MMP-9/NGAL | R&D Systems | DM9L20 | Supernatants, Serum | 0.002-0.058 | 20 | 50 | 190 | 4.8 | serum 1/20 | 6.5hr | N | TMB | 450nm (corr. 540 or 570)
LCN2 | MMP-9/NGAL | Ab Shop | KIT 036 | Serum, Plasma, Urine | 0.0005-0.004 | 180 | 10 | 4990 | 500 | 1/500 in dilution buffer | 4hr | N | TMB | 450 (corr. 650 or 620)
IGF2 |  | DSL | DSL-10-2600 | Serum | 2.2 | 2200 | 20 | 1900 | 96 | 20ul sample + 950 ul buff. | 4.5hr | Y (high/Low) 1 each | TMB | 450nm (corr. 600 or 620)
SPP1 | Osteopontin | Assay Designs | 900-142 | Supernatants, plasma-EDTA | 0.11 | 32 | 100 | 100 | 2 | N/A | 3hr + washes and setup | N | PNPP solution | 405nm (corr. 570 or 590)
PRL | Prolactin | DSL | DSL-10-4500 | Serum | 0.14 | 180 | 25 | 100 | 5 | 25ulsample+100ul buff | 2h10min +washes and setup | Y (high/Low) 1 each | TMB | 450nm (corr. 600 or 620)
MIF |  | Onco Detectors |  | Serum | 0.1 | 10 | 12.5 | 112.5 | 10 | 12.5ul + 112.5ul diluent | 51/2 hours + setup | N | TMB | 450
MMP7 |  | R&D Systems | DMP700 | Supernatants, Serum | 0.016 | 10 | 50 | 100 | 3 | 1/2 in dilution buffer | 4 1/2 hours + setup | N | TMB | 450nm (corr. 540 or 570)
IL13RA2 |  | Anogen | EL10039 | Supernatants, Serum | 10 | 250 | 100 | 0 | 1 | no recommendation | 3 1/2 hours + setup | N | TMB | 450nm
AMH | MIS | DSL | DSL-10-14400 | Serum | 0.017 | 15 | 20 | 100 | 6 | 20ul sample+100ul buff | 3h +washes and setup | Y (high/Low) 1 each | TMB | 450nm (corr. 600 or 620)
Note: Y= yes; N= not available; TMB=3,3´,5,5´- tetramethylbenzidine; PNPP = p-NitroPhenyl Phosphate; corr = correction at;