Reagents and Consumables Used in Protocol

| Item | Source | Catalog No. | Quantity |
| --- | --- | --- | --- |
| TaqMan Gene Expression Cells-to-CT Kit | Applied Biosystems | AM1728 | 100 Reactions |
| 0.5 mL Pellet Pestle, Blue | Kontes | 749521-0590 | 100/pk |
| 0.5 mL RNase-Free Pestle Tube | Kontes | 749510-0590 | 100/pk |
| MicroAmp Optical 96-well Plates | Applied Biosystems | N801-0560 | 10/bx |
| Microseal ‘B’ Film | Bio-Rad | MSB-1001 | 100/pk |
| DEPC Water, Nuclease Free | EMD | 9610 | 1 L |
| RNase Away | VWR | 72830-022 | 250 mL |
| DNA Away | VWR | 53509-506 | 250 mL |

Collection

- Collect at least three different flies from each line to be tested; it is better to have twice this to account for mistakes, waste, and outliers

- Flies should be processed on the third day post-eclosion

Dissection

- Prepare the Lysis + DNase I Solution and chill on ice prior to dissection:

  - Dilute 0.5 µL DNase I in 49.5 µL Lysis Solution per reaction

  - Add 20 µL Lysis + DNase I Solution to each 0.5 mL RNase-free microcentrifuge tube

- Briefly expose flies to CO2 to anesthetize them

- Place a clean microscope slide on the stage of the dissecting microscope and add two small droplets of insect Ringer’s solution on the slide

- Place a single fly within a few millimeters of one of the droplets of solution

- Turn the fly so that the head is facing left

- Gently gasp the head/thorax with a pair of forceps in the left hand and gently tear the abdomen open with a pair of needle-nosed forceps in the right hand

- Spread the contents of the abdomen into the nearest droplet of Ringer’s solution

- Identify the testes as bright yellow with a spiral-shape

- Tease the testes away from the fascia and other tissue, while taking great care to keep the testes walls intact

- Should the testes become punctured, Drosophila sperm is easy to identify as long white wisps that will quickly spread through the solution; if this happens, discard the dissection and begin again

- Transfer one pair of testes from each fly to a single 0.5 mL microcentrifuge tube containing Lysis + DNase I Solution

- Continue dissecting testes for the number of biological replicates required for the experiment

Lysis

- Homogenize the testes thoroughly with a pestle that securely fits the mortar

- Collect debris from the pestle with remaining 30 µL Lysis + DNase I Solution

- Incubate homogenized testes at room temperature for 15 minutes

- During incubation, prepare the following:

  - Thaw Stop Solution, flick tube to mix (do not vortex), place on ice

  - Place 20x RT Enzyme Mix on ice

  - Place 2x RT Buffer on ice

- Pipet 5 µL Stop Solution directly into each lysis reaction and mix by pipetting up and down 5 times

- Incubate at room temperature for 2 minutes
(can be stored at -80°C for up to two months)

Reverse Transcription

- Reserve and program a thermal cycler for the RT reaction

  - Step 1 (reverse transcription): 37°C for 60 minutes

  - Step 2 (RT inactivation): 95°C for 5 minutes

  - Step 3 (hold): 4°C ad infinitum

- Prepare RT Master Mixes according to the table below:

RT+ Master Mix

| Component | 1x (µL) |  |  |
| --- | --- | --- | --- |
| 2x RT Buffer | 25.0 |  |  |
| 20x RT Enzyme Mix | 2.5 |  |  |
| Nuclease-free water | 12.5 |  |  |
|  | 40.0 |  |  |

RT– Master Mix (Non Amplification Control, NAC)

| Component | 1x (µL) |  |  |
| --- | --- | --- | --- |
| 2x RT Buffer | 25.0 |  |  |
| 20x RT Enzyme Mix | 0.0 |  |  |
| Nuclease-free water | 15.0 |  |  |
|  | 40.0 |  |  |

- Add 10 µL sample lysate and 40 µL RT Master Mix to PCR tubes

- Include a Genomic Template Control (GTC) and a Non-Template Control (NTC, use water instead of template in RT+ reaction)

- Mix reactions gently and briefly spin down

- Run reverse transcription reaction

RQ-PCR

- Place ABI TaqMan Gene Expression Master Mix on ice

- Prepare standard curve series (1x, 0.5x, 0.1x, 0.05x, 0.01x), diluted in water

- Reserve and program the ABI Prism 7000 SDS for the RQ-PCR reaction

  - Step 1 (UNG incubation): 50°C for 2 minutes

  - Step 2 (enzyme activation): 95°C for 10 minutes

  - Step 3 (PCR): 95°C for 15 seconds; 55°C for 1 minute (repeat 40 times)

  - Select dissociation curve protocol

- Prepare the RQ-PCR Master Mixes in triplicate for each sample;
controls must include GTC, NTC, and Non-Amplification Control (NAC, water as template is RQ-PCR) samples

| Component | 1x (µL) |  |  |
| --- | --- | --- | --- |
| 2x TaqMan Master Mix | 10.0 |  |  |
| 20x Assay Mix (GOI) | 1.0 |  |  |
| 20x Assay Mix (EN) | 1.0 |  |  |
| cDNA | 2.0 |  |  |
| Nuclease-free water | 6.0 |  |  |
|  | 20.0 |  |  |

GOI = Gene of Interest; EN = Endogenous Normalizer (e.g., Actin 5C)

- Program RQ-PCR in thermal cycler and run samples

Analysis

- Set appropriate threshold and baseline parameters

- Export the data and import data into spreadsheet

- Group the data according to the detector, with matching endogenous normalizer

- Observe the CT values for all controls and note any inconsistencies or unexpected results.

- The controls shall no longer be used in calculations

- Create a linear regression from the standard curve samples, with the concentration as the x (or dependent) variable and the Ct value as the y (or independent) variable

- Calculate the correlation coefficient (R2 value) and best-fit line from the data

- If the correlation coefficient value is not greater than 0.95, the data set is suspect and should be discarded

- The slope from the best-fit line should be close to -3.3219, which would yield a 100% efficiency

- Calculate the efficiency, but plugging your slope into the following equation:

- If your efficiency is too far off of 100% (say 90% ≥ efficiency ≥ 110%), any variance is error and the data should be suspect

- Create four new columns in the spreadsheet with the following headings: ∆Ct, ∆∆Ct, Fold, and Relative

- For the ∆Ct column, subtract the unknown Ct value from the endogenous normalizer Ct value

- For the ∆∆Ct column, take the difference of the first unknown’s ∆Ct from every subsequent ∆Ct, such that the first unknown’s cell will have a value of 0

- For the Fold column, use the following formula “=1/(2^(∆∆Ct))” is the reciprocal of the amplification of the ratio between unknown and endogenous normalizer

- Finally, for the relative column, divide the Fold for the first unknown by every other Fold, such that the first unknown will have a value of 1, with all other being relative to it