Table S3.  Conditions for HPLC analysis of PBA-PFB mycolates

| Conditions | Column | Gradient elution program |
| --- | --- | --- |
| Flow rate: 1ml/min Detector: Excitation 342nm, emission 376nm | Reverse phase | Acetonitrile/tetrahydrofuran: 55:45 to 45:55 in 31min |
|  | Normal phase | Heptane/ethyl acetate: 100:0 to 99:1 in 1min; 99:1 to 97:3 in 30min |