Supporting Information Text

Chemicals. The 13C,15N-labeled algal amino acid mixture (16AA, 97.4% 13C, 97.9% 15N) was purchased from Shoko Co. Ltd., [13C6]glucose (>98% 13C) from Spectra Stable Isotopes, and D2O (90%–95% D) from Shoko Co. Ltd. 16AA did not contain asparagine, glutamine, cysteine, or tryptophan.

NMR acquisition parameters and spectrum analyses. 13C-HSQC spectra used in the HSQC-based metabolite chemical shift database were typically acquired with 1024 points per 16 ppm in the 1H dimension, accumulating 16 transients per free induction decay and 128 increments per 76 ppm in the 13C dimension on a Bruker DRX 500 or DRU 700. The 13C-HSQC spectra used for chemical shift fluctuations were acquired with 1024 points per 12 ppm of 1H, 8 transients per free induction decay, and 80 increments per 40 ppm of 13C on a Bruker DRU 700. The 13C-HSQC spectrum shown in Fig. 2a was acquired with 2048 points per 16 ppm of 1H, 32 transients per free induction decay, and 160 increments per 40 ppm of 13C on a Bruker DRU 700. The 13C-HSQC spectrum in Fig. 2b was acquired with 1024 points per 16 ppm of 1H, 32 transients per free induction decay, and 200 increments per 40 ppm of 13C on a Bruker DRU 700. The 3D HCCH-COSY spectrum in Fig. 3 was acquired with 1024 points per 14 ppm in the 1H direct dimension, accumulating 16 transients per free induction decay, 100 increments per 40 ppm in the 13C dimension, and 48 increments per 8 ppm in the indirect 1H dimension on the DRU 700. The 13C-HSQC spectra used to generate Fig. 4 were acquired with 1024 points per 16 ppm in the 1H dimension and 160 increments per 36 ppm in the 13C dimension on the DRX 500. To confirm metabolite identification in the HSQC spectrum obtained by 3D HCCH-COSY, all of the detected 13C-HSQC peaks were manually examined as follows: (1) 13C-HSQC peaks were grouped by metabolite. (2) For each peak within a group, it was determined whether the corresponding plane in the 3D HCCH-COSY spectrum had cross peaks that showed intra-connectivity within the group (metabolite). (3) A peak was defined as confirmed if the peak had intra-connectivity within the group (metabolite) (typically, it had more than two or three connections) without any conflicts with other assignments.

Pathway color and simulated annealing. Each pathway was colored using a standard RGB color having an alpha channel (transparency). Our demonstration graphic representation was based on cyan and yellow. The color of a pathway containing identified metabolites, PWi, was defined as

,

where is the fraction of positive loadings within the pathway; , is the summation of positive loadings within the pathway; , is the summation of negative loadings within the pathway; and LPC1k is the loading on PC1 of metabolite k in pathway i. A pathway with no identified metabolites was colored gray.

The total energy of the system, E, was defined as

,

where  is the sum of standardized intensities of metabolites, which are the standardizing values in Fig. S3, within a given pathway i (= 100 for pathways containing no identified metabolites);  is the distance of pathway i from the center in pixels; N is the number of pathways; δij is the area of overlap of pathways i and j in pixels2; Ai, the area of pathway i (represented by a rectangle) in pixels2; Aj, the area of pathway j in pixels2;  is the energy of pathway I, which is infinite for pathways overlapping the periphery of the figure. The initial and final temperatures were 3,000,000 and 1000, respectively. The initial temperature became cooler with every simulation; the temperature for the next simulation was obtained by multiplying the previous temperature by 0.955. The number of steps per simulation at a given temperature was increased with each simulation by multiplying the previous number of steps by 1.02 to obtain the number of steps for the next simulation. The number of steps at the initial temperature was 132 × 132 × 10 = 174240. The first term of the equation is similar to the gravitational potential energy and attracts pathways having larger intensities toward the center, but repels pathways having weaker intensities and no identified metabolites toward the periphery. The coefficient 8 × 107 was optimized by visual inspection of the results of multiple simulations. The second term represents the repulsive energy when two pathways overlap, thus minimizing overlaps. The third term restricts a pathway to the drawing area.