Table S2: Half value layer and effective X-ray energies for each tube potential.

| Tube potential (kVp) | 100 | 200 | 320 |
| --- | --- | --- | --- |
| Half Value Layer (mm Cu) | 0.503 | 1.145 | 2.010 |
| Effective X-ray Energy (keV) | 61.17 | 85.30 | 113.43 |