Table S3: Dose calibration factors and the calibrated dose rate.

| Tube Potential (kVp) | 100 | 200 | 320 |
| --- | --- | --- | --- |
| Current (mA) | 7.35 | 7.35 | 5 |
| Beam on time (min) | 7 | 2 | 1 |
| End effect, t | -0.0289 | -0.0320 | -0.0328 |
| Raw reading, Mraw (nC) | 7.645 | 15.075 | 15.345 |
| Corrected reading, M (nC) | 7.875 | 15.402 | 15.611 |
| Air-kerma calibration factor, (cGy/nC) | 4.320 | 4.368 | 4.410 |
| Backscatter factor, (field diameter = 10.83 cm) | 1.388 | 1.346 | 1.285 |
| Chamber stem correction factor, | 1.00 | 1.00 | 1.00 |
| Mass energy-absorption coefficients, | 1.050 | 1.079 | 1.089 |
| Calibrated dose rate (cGy/min) | 7.11 | 49.65 | 99.61 |