Table S5 	Fluorochrome conjugated secondary antibodies and optical/technical parameters for their detection in the Leica TCS NT confocal laser scanning microscope

| Fluorochromes (Molecular Probes, Eugene,OR) | Excitation | Excitation beam splitter | Detection beam splitter1 | Suppression filter | Working concentration (µg/ml) |
| --- | --- | --- | --- | --- | --- |
| DAG Alexa-488 | 488 nm | TK 510 | mirror | LP515 | 2 |
| DAM Alexa-555 | 568 nm | DD 488/568 | empty | LP590 | 2 |
| DAR Alexa-647 | 647 nm | RSP 660 | empty | LP665 | 2 |