| Table S1. Biomarkers, Method, and Precision of Assay. |
| --- |
| Analyte | Method | Inter-assay imprecision CV %, (levels) | Intra-assay imprecision CV%, (levels) | Sample matrix |
| Inflammation |
| CRP, mg/L | Immunoturbidometric1 | 1.8-2.6% (3.9-10.9 mg/L) | 1.0-9.2% (0.56-5.2 mg/L) | Serum |
| SAA, µg/mL | ELISA2 | 9-14% (15.3-406 µg/mL) | 3-11.5% (31.3-384 µg/mL) | EDTA plasma |
| ICAM, ng/mL | ELISA3 | 11.4-14.1% (284-645 ng/mL) | 3.6-4.3% (324-590 ng/mL) | EDTA plasma |
| VCAM, ng/mL | ELISA3 | 5.3-9.8% (62.6-868 ng/mL) | 4.5-7.3% (183-437 ng/mL) | EDTA plasma |
| IL-6, pg/mL | ELISA 6-plex4 | 25.6% (4.1 pg/mL) | 12.4% (4.6 pg/mL) | EDTA plasma |
| IL-18, pg/mL | ELISA 6-plex4 | 29.9% (35.5 pg/mL) | 14.3% (35.7 pg/mL) | EDTA plasma |
| TNFRI, pg/mL | ELISA 6-plex4 | 29.2% (818 pg/mL) | 9.4% (971.9 pg/mL) | EDTA plasma |
| TNFRII, pg/mL | ELISA 9-plex4 | 27.4% (1,191 pg/mL) | 10.9% (1,200 pg/mL) | EDTA plasma |
| MCP-1, pg/mL | ELISA 9-plex4 | 32.4% (623 pg/mL) | 13.1% (745 pg/mL) | EDTA plasma |
| E-selectin, ng/mL | ELISA 9-plex4 | 18.2% (58.8 ng/mL) | 8.3% (60.4 ng/mL) | EDTA plasma |
| P-selectin, ng/mL | ELISA 6-plex4 | 17.9% (39.7 ng/mL) | 7.1% (40.4 ng/mL) | EDTA plasma |
| Hsp27, ng/mL | ELISA5 | 4.1-12.3% (491-1578 ng/mL) | 11.2-12.6% (1594-3783 ng/mL) | Serum |
| MPO, ng/mL | ELISA6 | 7.2-7.4%, (4.1-166 ng/mL) | 10.7-12.4% (2.8-52.2 ng/mL) | Serum |
| RAGE, pg/mL | ELISA 6-plex4 | 30.1% (1,021 pg/mL) | 14.5% (1,038 pg/mL) | EDTA plasma |
| MMP-2, ng/mL | ELISA 9-plex4 | 26.9% (1,359 ng/mL) | 9.5% (1,398 ng/mL) | EDTA plasma |
| MMP-9, ng/mL | ELISA 9-plex4 | 22.6% (155.5 ng/mL) | 54.3% (119.2 ng/mL) | EDTA plasma |
| TIMP-1, ng/mL | ELISA 9-plex4 | 20% (62.4 ng/mL) | 5.4% (61.7 ng/mL) | EDTA plasma |
| TIMP-2, ng/mL | ELISA 9-plex4 | 25.8% (121.7 ng/mL) | 8% (121.9 ng/mL) | EDTA plasma |
| Lipoprotein metabolism |
| ApoA-I, mg/dL | Immunoturbidometric1 | 5-6% (95-259 mg/dL) | 0.7-1.0% (90-230 mg/dL) | EDTA plasma |
| ApoB, mg/dL | Immunoturbidometric1 | 3-6% (45-163 mg/dL) | 1-2.3% (65-144 mg/dL) | EDTA plasma |
| ApoC-III, mg/dL | Immunoturbidometric1 | 8.1-8.4% (8.5-23 mg/dL) | 0.9-1.5% (9.3-24.6mg/dL) | EDTA plasma |
| ApoE, mg/dL | Immunoturbidometric1 | 10-12% (1.3-3.5 mg/dL) | 1.9-2.9% (2.7-3.5 mg/dL) | EDTA plasma |
| LDL size, nm | Electrophoresis7 | 0.47-0.79% (25.6-26.5 nm) | x | EDTA Plasma |
| Lp(a), mg/dL | Immunoturbidometric1 | 6.5-6.7% (22.5-53.5 mg/dL) | 1.2-2.1% (19-45 mg/dL) | Serum |
| Ox-LDL, U/L | ELISA8 | 4.8-8.4% (3.8-10.9 U/L) | 4.4-7.1% (2.0-2.5 U/L) | EDTA Plasma |
| Lp-PLA2 mass, ng/mL | ELISA9 | 5.3-10.3% (84.4-230.1 ng/mL), | 10.5-15.1% (190-402 ng/mL) | Serum |
| Lp-PLA2 activity, mol/min/mL | Chromogenic9 | 5.7-8.3% (98.8-223 mol/min/mL) | x | Serum |
| Adipocyte metabolism |
| Leptin, ng/mL | RIA10 | 11-13% (3.0-20.4 ng/mL) | 6.1-7.7% (3.8-39.7 ng/mL) | EDTA Plasma |
| Adiponectin, µg/mL | RIA10 | 13.0-18.4% (1.6-11.6 µg/mL) | 4.7-17.0% (5.1-119 µg/mL) | EDTA Plasma |
| Resistin, ng/mL | ELISA11 | 11.8-12.9% (6.6-17.5 ng/mL) | 6.7-10.3% (3.0-15.4 ng/mL) | EDTA Plasma |
| Hemodynamics |
| NT-proBNP, pg/mL | ELISA4 | 42.1% (87.4 pg/mL) | 9.1% (80 pg/mL) | EDTA plasma |
| MR-proANP, pmol/L | Immunoluminometric12 | < 20% (18-65 pmol/L) | <10% (23-3000 pmol/L) | EDTA plasma |
| CT-proAVP, pmol/L | Immunoluminometric12 | <15% (2.25-420 pmol/ L) | <10% (2.25-420 pmol/ L) | EDTA plasma |
| MR-proADM, nmol/L | Immunoluminometric12 | < 10% (0.14-14.1 nmol/L) | < 7% (0.08-14.7 nmol/L) | EDTA plasma |
| CT-proET, pmol/L | Immunoluminometric12 | < 10% 11.6-317 pmol/L | <5% 11.7-206 pmol/L | EDTA plasma |
| Calcification |
| OPN, pg/mL | Immunoassay triplex13 | 24.9% (11.9 pg/mL) | 10.8-11.4% (10.1-13.5 pg/mL) | Serum |
| OPG, pg/mL | Immunoassay13 | 2.5-4.0% (133-180 pg/mL) | 11.3-13.3% (149-189 pg/mL) | Serum |
| ONN, pg/mL | Immunoassay triplex13 | 15.9-18.6% (864-937 pg/mL) | 5.3-6.3% (672-926 pg/mL) | Serum |
| OCN, pg/mL | Immunoassay triplex13 | 5.8-21.1% (13.4-32.5 pg/mL) | 5.7-5.8% (12.7-32.5 pg/mL) | Serum |
| Thrombosis |
| Factor II, % activity | Clot-based14 | 6.4-8% (41.6-98.6%) | 4.1-4.4% (35.8-81.3%) | Sodium-citrate plasma |
| Factor V, % activity | Clot-based14 | 4.9-11% (41.3-111%) | 4.7-6.5% (47.5-113) | Sodium-citrate plasma |
| Factor VII, % activity | Clot-based14 | 10-11% (41.3-101.6%) | 4.1-4.4% (35.8-81.3%) | Sodium-citrate plasma |
| Factor VIII, % activity | Clot-based14 | 17.9-18% (43.3-105%) | 6.3-6.5% (47.5-113%) | Sodium-citrate plasma |
| vWF, IU/dL | ELISA14 | 2.9- 9.2% (10.9-162%) | 4.5-9.5% (34-70.3%) | Sodium-citrate plasma |
| D-dimer, ng/mL | Immunoturbidometric14 | 4-15% (244-2061 ng/mL) | 3.1-24.4% (100-1071 ng/mL) | Sodium-citrate plasma |
| ATIII, % activity | Chromogenic14 | 7.6-7.8% (45.2 -104 %) | 3.8-3.9% (45.5-105%) | Sodium-citrate plasma |
| Fibrinogen, mg/dL | Clot-based14 | 2.5-3.5% (111-286 mg/dL) | 2.4-5.3% (110-282 mg/dL) | Sodium-citrate plasma |
| 1. Diasorin, Inc., Stillwater, MN; 2. BioSource International, Camarillo, CA; 3. R&D Systems, Minneapolis, MN, 4. SearchLight™, Pierce, Boston, MA; 5. Calbiochem, Gibbstown, NJ; 6. ALPCO Diagnostics, Salem, NH; 7. Lipoprint™ LDL System; Quantimetrix, Redondo Beach, CA; 8. Mercodia, Uppsala, Sweden; 9. Diadexus, South San Francisco, CA; 10. Linco Research, Inc, St. Louis, MO; 11. BioVendor, Modrice, Czech Republic; 12. BRAHMS, Hennigsdorf/Berlin, Germany; 13. Meso-scale Discoveries, Gaithersburg, MD; 14. Diagnostica STAGO, Asnieres, France |