# Supplementary Method S3

Mass Spectrometry

Purified OR131-2 protein was subjected to sodium dodecyl sulfate-polyacrylamide gel electrophoresis (SDS-PAGE) on Novex® 4-12% Bis Tris gels (Invitrogen, Singapore) and stained using Simply Blue (Invitrogen, Singapore). Protein gel bands were excised and digested with trypsin. The resulting peptide fragments were analyzed using LC-MS/MS by the Protein Mass Spectrometry service at the Biopolis Shared Facilities (Singapore).  Proteolytic peptides were separated on a nanoAcquity C18 column, (1.7m, 75m ID x 150mm) (Waters, Milford, MA) on a nanoAcquity UPLC system (Waters, Milford, MA). Gradient elution with a water-acetonitrile-formic acid solvent system of peptides was carried out at a flow rate of 300 nL/min over 60 min.  Electrospray mass spectra were acquired with a quadrupole time-of-flight mass spectrometer (Q-tof Premier, Waters, Milford, MA).  An extensive blast search was performed on the identified peptide fragments using the bioinformatics program found on  http://blast.ncbi.nlm.nih.gov/Blast.cgi?PROGRAM=blastp&BLAST_PROGRAMS=blastp&PAGE_TYPE=BlastSearch&SHOW_DEFAULTS=on&LINK_LOC=blasthome