Text S1. Experimental conditions for live optical imaging of Ramlibacter tataouinensis TTB310 (video S1)

Single cell imaging

For live optical imaging of strain TTB310 cells, we used a high magnification optical microscope with a 100X phase contrast objective (Zeiss Axiovert 200 with an oil contact lens Plan-Neofluar100xPh3 NA=1.3 and a supplementary 1.6 Optovar lens). For detection we used a back-illuminated CCD system, with 1340x1300 pixels each of 20 µm x 20 µm size, cooled to –100 °C (Roper Scientific-Princeton Instruments Camera, CT 1300B Cryotiger). The data acquisition was entirely automated with custom-made software, interfaced with the camera control software, WinView/32. For automatic focusing we used phase contrast imaging (exposure 200 ms under low intensity bright-field light). One field of view preceded by an automatic focusing was taken every 20 min, and the length of the movie shown here is approximately 26 h.

Cells, growth chamber

The strain TTB310 cells were grown in 1/10 TBS medium at 30 °C overnight in dark. The growth chambers for the microscope used were on 50x9 mm Petri dishes, with a N°0 glass coverslip (MatTek Corporation P50G-0-14F) glued inside. 0.5 µl of cells was spotted on the coverslip, coated with 100 µl of liquid 6 % SeaPlaque low-melt agarose in media and immediately covered and insulated with a transparent 0.4 µm pore size PET track-etched membrane (Falcon) and paraffin sealed. The Petri dish was then filled with 30 °C media, closed, and installed under the microscope. In this way, movement of the cells was highly restrained by the agarose gel, but still with a homogeneous access for all cells to growth media and light, while a sufficiently transparent light pathway allowed phase contrast microscopy.