| DNA | Amount of DNA (ng) | Assay 122018 LoQa | Assay 266152 LoQa |
| --- | --- | --- | --- |
|  |  | B. pseudomallei TaqMan probe | Non-B. pseudomallei TaqMan probe | B. pseudomallei TaqMan probe | Non-B. pseudomallei TaqMan probe |
| B. pseudomallei | 4x101 | 8 | 0 | 8 | 8 |
| B. pseudomallei | 4x100 | 8 | 0 | 8 | 8 |
| B. pseudomallei | 4x10-1 | 8 | 0 | 8 | 8 |
| B. pseudomallei | 4x10-2 | 8 | 0 | 8 | 8 |
| B. pseudomallei | 4x10-3 | 8 | 0 | 8 | 8 |
| B. pseudomallei | 4x10-4 | 8 | 0 | 8 | 8 |
| B. pseudomallei | 4x10-5 | 8 | 0 | 8 | 8 |
| B. pseudomallei | 4x10-6 | 1 | 0 | 8 | 8 |
| B. pseudomallei | 4x10-7 | 1 | 0 | 1 | 1 |
| B. pseudomallei | 4x10-8 | 0 | 0 | 0 | 0 |
| B. pseudomallei | 4x10-9 | 0 | 0 | 0 | 0 |
| B. pseudomallei | 4x10-10 | 0 | 0 | 0 | 0 |
| B. pseudomallei | 4x10-11 | 0 | 0 | 0 | 0 |
| B. pseudomallei | 4x10-12 | 0 | 0 | 0 | 0 |
| B. pseudomallei | 4x10-13 | 0 | 0 | 0 | 0 |
| B. pseudomallei | 4x10-14 | 0 | 0 | 0 | 0 |
| B. thailandensis-like | 4x101 | 2 | 8 | 8 | 8 |
| B. thailandensis-like | 4x100 | 2 | 8 | 8 | 8 |
| B. thailandensis-like | 4x10-1 | 1 | 8 | 8 | 8 |
| B. thailandensis-like | 4x10-2 | 0 | 8 | 8 | 8 |
| B. thailandensis-like | 4x10-3 | 0 | 8 | 8 | 8 |
| B. thailandensis-like | 4x10-4 | 0 | 8 | 8 | 8 |
| B. thailandensis-like | 4x10-5 | 0 | 5 | 7 | 7 |
| B. thailandensis-like | 4x10-6 | 0 | 2 | 2 | 2 |
| B. thailandensis-like | 4x10-7 | 0 | 0 | 1 | 1 |
| B. thailandensis-like | 4x10-8 | 0 | 0 | 0 | 0 |
| B. thailandensis-like | 4x10-9 | 0 | 0 | 0 | 0 |
| B. thailandensis-like | 4x10-10 | 0 | 0 | 0 | 0 |
| B. thailandensis-like | 4x10-11 | 0 | 0 | 0 | 0 |
| B. thailandensis-like | 4x10-12 | 0 | 0 | 0 | 0 |
| B. thailandensis-like | 4x10-13 | 0 | 0 | 0 | 0 |
| B. thailandensis-like | 4x10-14 | 0 | 0 | 0 | 0 |

aLoQ was determined as the lowest amount at which all eight replicates amplified with σ<0.8 (highlighted in orange). NB. For both assays, the upper LoQ was not reached at the highest tested amount of 40ng.