| Assay | Linearity cutoffs | B. pseudomallei probe gDNA amount (ng) | Non-B. pseudomallei probe gDNA amount (ng)c |
| --- | --- | --- | --- |
| 122018 | Slope, R2, replicate numbera | 4x10-5 to ≥40 | 4x10-5 to ≥40 |
|  | Slope, R2, replicate number, σb | 4x10-5 to ≥40 | 4x10-4 to ≥40 |
| 266152 | Slope, R2, replicate numbera | 4x10-6 to ≥40 | 4x10-4 to ≥40 |
|  | Slope, R2, replicate number, σb | 4x10-6 to ≥40 | ≥40 |

aRange of linearity when slope (between -3.3 and -3.7; -3.32 indicates 100% efficiency), number of amplified replicates (≥25% amplification success) and R2 values (> 0.997) (see Figure S4 for linear plots) are taken into account. Data points not adhering to these criteria were considered outside the linear range and were removed from analysis. In some instances, the standard deviation (σ) for replicates within this linear range exceeded a cutoff of ≥0.8. However, using eight replicates, the R2 values and no. of amplified replicates were acceptable; therefore, this larger range of linearity can be used, but it is recommended that eight replicates should be run.

bAs above, plus σ of <0.8 taken into account.

cThe upper limit of linearity for 122018 and 266152 was not reached; therefore, the range of linearity surpasses this amount.