Table 1 MACS separation results

| Cell # and volume per column | Rinse (mL) | Positive cell # Mean ( SD | (%) | Overall recovery Mean ( SD (%) | Number of tubes* | Number of columns** | Sorting speed (s-1) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1.0(108 / 1.0 mL | 2 | (1.57 ( 0.12)(107 | 15.7 ( 1.2 | 93.9 ( 4.8 | 3 | 14 | 1.1(105 |
| 1.5(108 / 1.5 mL | 3 | (1.86 ( 0.25)(107 | 12.4 ( 1.7 | 98.6 ( 4.7 | 3 | 3 | 1.2(105 |
| 2.0(108 / 2.0 mL | 4 | (2.13 ( 0.46)(107 | 10.7 ( 2.3 | 98.3 ( 3.8 | 4 | 16 (3) | 1.2(105 |
| 2.5(108 / 2.5 mL | 4 | (3.44 ( 0.31)(107 | 13.8 ( 1.2 | 96.4 ( 3.2 | 1 | 6 (1) | 1.4(105 |
| 2.5(108 / 2.5 mL | 5 | (1.94 ( 0.13)(107 | 7.8 ( 0.5 | 101.5 ( 6.5 | 2 | 7 | 1.2(105 |
| 3.0(108 / 3.0 mL | 5 | (2.37 ( 0.26)(107 | 7.9 ( 0.9 | 98.8 ( 3.5 | 2 | 6 (2) | 1.4(105 |

* Number of tubes used for the HSC culture collection (listed here for internal reference). **Total number of columns used for magnetic RBC separation at a condition listed in Column #1 (thus the total number of cells processed for that condition is a product of entries listed in Columns  #1 and #7). Numbers in parentheses refer to the number of clogged columns resulting in a failed experiment. “Sorting speed” was calculated as the total number of cells loaded onto the MACS column divided by the time it took to complete the separation.