Figure S2. The quality and quantity of total RNA used for small RNA library construction. One µl of total RNA were diluted with 1 µl of RNase-free water and then denatured at 70 °C for two min. Total RNA was analyzed using Agilent 2100. The results showed that the sample had a RNA integrity number (RIN) of 8.1 and a 28s/18s rRNA ratio of 1.8, suggesting the RNA samples were not degraded. The concentration of original total RNA is 302 ng/µl, which is good for small RNA library construction.