## Directions
Choosing the best plant for the job: a cost-effective assay to prescreen ancient plant remains destined for shotgun sequencing
Nathan Wales, J. Alberto Romero-Navarro, Enrico Cappellini, and M. Thomas P. Gilbert
Spreadsheet S1
Directions
1. Prepare ancient plant samples as directed in manuscript.
2. Select up to 7 samples to be used in the qPCR assay.
3. Type the names of the samples in the "Master mixes" worksheet.
List samples in consecutive order (i.e., do not skip name slots if there are less than 7 samples).
Delete names not being used, and worksheet will update calculations/plate layout.
Tip: Master mix page can be altered for different stock concentrations.
4. Make first master mix (without primers).
5. Pipette the indicated volume into four tubes and add one primer set to each tube.
6. Create a dilution series for each sample: 100%, 10%, and 1%.
Tip: Put dilution series in strip tubes so multichannel pipettes can be used.
7. Pipette samples and master mixes according to the "Plate layout" worksheet.
8. Run real-time qPCR according to specified protocol.
Tip: Names can be imported or pasted into Roche LightCycler software using "For software" worksheet.
9. Following qPCR run, enter data into "Raw qPCR data" worksheet.
Data from LightCycler software can be pasted directly into worksheet.
Alternatively, Ct values for the corresponding wells can be manually entered into worksheet.
Check that Ct values are in column D, starting with row 3.
10. Sample worksheets 1-7 automatically access the raw data and analyze it.
The left-hand side of the worksheet (columns A-E) is used to check the reliability of the data.
Each Ct value of the sample and dilutions are checked against the corresponding negative control.
Ct values are compared to check if values increase along each dilution series.
The right-hand side of the worksheet (columns G-I) gives the relative amounts of the types of DNA.
Tip: Unreliable data is automatically dimmed.
Generally the non-diluted sample provides sufficient information.
11. Compare and contrast different samples using the maximum DNA and relative percentages.
Figure 1 provides guidelines for selecting the best sample for shotgun sequencing.

## Master mixes
Sample names
Sample 1: | sample 1 |  | Sample names must be entered for automated master mix calculations and plate design. Plate layout will reconfigure based upon number of samples.
Sample 2: | sample 2
Sample 3: | sample 3
Sample 4: | sample 4
Sample 5: | sample 5
Sample 6: | sample 6
Sample 7: | sample 7
Number of samples | 7
First Master Mix
| stock conc. | unit | final conc. | unit | Volume per reaction (µL) | Volume in master mix
Template |  | ng/µL |  | ng | 1 | Add to plate
dNTPs | 25 | mM | 0.2 | mM | 0.2 | 20
Primer F and R mix | 10 | µM (each) | 0.4 | µM | 1 | Add to 2nd MM
AmpliTaq Gold | 5 | U/µL | 0.04 | U/µL | 0.2 | 20
AmpliTaq buffer | 10 | x | 1 | x | 2.5 | 250
MgCl2 | 25 | mM | 2.5 | mM | 2.5 | 250
SyBr/Rox |  |  |  |  | 1 | 100
ddH2O |  |  |  |  | 16.6 | 1660
|  |  |  | Total volume per reaction (µL): | 25
|  |  |  | Total reactions (12 * n samples + 4 controls): | 88
|  |  |  | Master mix multiplication (allowing for pipette errors): | 100
|  |  |  | Total volume in first master mix (µL): | 2300
Second Master Mix (Make for all 4 primer sets)
| stock conc. | unit | final conc. | unit | Volume per reaction (µL) | Volume in master mix
Template |  | ng/µL |  | ng | 1 | Add to plate
Primer F and R mix | 10 | µM | 0.4 | µM | 1 | 23.5
1st Master Mix | From above |  |  |  | 23 | 540.5
|  |  |  | Total volume per reaction (µL): | 25
|  |  |  | Total reactions (3 * n samples + 1 control): | 22
|  |  |  | Master mix multiplication (allowing for pipette errors): | 23.5
|  |  |  | Total volume in second master mix (µL): | 564

## Plate layout
Recommended Plate Layout |  | sample 1 dilutions |  |  | sample 2 dilutions |  |  | sample 3 dilutions |  |  | sample 4 dilutions
|  | 100% | 10% | 1% | 100% | 10% | 1% | 100% | 10% | 1% | 100% | 10% | 1%
Primer set | Well | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
Plant nuclear | A | sample 1.library.nuclear | sample 1.1.nuclear | sample 1.01.nuclear | sample 2.library.nuclear | sample 2.1.nuclear | sample 2.01.nuclear | sample 3.library.nuclear | sample 3.1.nuclear | sample 3.01.nuclear | sample 4.library.nuclear | sample 4.1.nuclear | sample 4.01.nuclear
Plant chloroplast | B | sample 1.library.chlor | sample 1.1.chlor | sample 1.01.chlor | sample 2.library.chlor | sample 2.1.chlor | sample 2.01.chlor | sample 3.library.chlor | sample 3.1.chlor | sample 3.01.chlor | sample 4.library.chlor | sample 4.1.chlor | sample 4.01.chlor
Bacteria | C | sample 1.library.bact | sample 1.1.bact | sample 1.01.bact | sample 2.library.bact | sample 2.1.bact | sample 2.01.bact | sample 3.library.bact | sample 3.1.bact | sample 3.01.bact | sample 4.library.bact | sample 4.1.bact | sample 4.01.bact
Fungi | D | sample 1.library.fung | sample 1.1.fung | sample 1.01.fung | sample 2.library.fung | sample 2.1.fung | sample 2.01.fung | sample 3.library.fung | sample 3.1.fung | sample 3.01.fung | sample 4.library.fung | sample 4.1.fung | sample 4.01.fung
Plant nuclear | E | sample 5.library.nuclear | sample 5.1.nuclear | sample 5.01.nuclear | sample 6.library.nuclear | sample 6.1.nuclear | sample 6.01.nuclear | sample 7.library.nuclear | sample 7.1.nuclear | sample 7.01.nuclear | Nucl Neg
Plant chloroplast | F | sample 5.library.chlor | sample 5.1.chlor | sample 5.01.chlor | sample 6.library.chlor | sample 6.1.chlor | sample 6.01.chlor | sample 7.library.chloro | sample 7.1.chlor | sample 7.01.chlor | Chloro Neg
Bacteria | G | sample 5.library.bact | sample 5.1.bact | sample 5.01.bact | sample 6.library.bact | sample 6.1.bact | sample 6.01.bact | sample 7.library.bact | sample 7.1.bact | sample 7.01.bact | Bact Neg
Fungi | H | sample 5.library.fung | sample 5.1.fung | sample 5.01.fung | sample 6.library.fung | sample 6.1.fung | sample 6.01.fung | sample 7.library.fung | sample 7.1.fung | sample 7.01.fung | Fungi Neg
|  | 100% | 10% | 1% | 100% | 10% | 1% | 100% | 10% | 1%
|  | sample 5 dilutions |  |  | sample 6 dilutions |  |  | sample 7 dilutions |  |  | Negative Controls
qPCR Condtions
[5 empty] | Step | Temp (˚C) |  | Time (min:sec)
[5 empty] | 1 | 95 |  | 10:00
[5 empty] | 2 | 95 |  | 0:30
[5 empty] | 3 | 54 |  | 1:00
[5 empty] | 4 | 72 |  | 1:00
[5 empty] | 5 | Repeat steps 2–4 for 50 cycles
[5 empty] | 6 | Melting curve

## For software
General:Pos | General:Sample Name
A1 | sample 1.library.nuclear
A2 | sample 1.1.nuclear
A3 | sample 1.01.nuclear
A4 | sample 2.library.nuclear
A5 | sample 2.1.nuclear
A6 | sample 2.01.nuclear
A7 | sample 3.library.nuclear
A8 | sample 3.1.nuclear
A9 | sample 3.01.nuclear
A10 | sample 4.library.nuclear
A11 | sample 4.1.nuclear
A12 | sample 4.01.nuclear
B1 | sample 1.library.chlor
B2 | sample 1.1.chlor
B3 | sample 1.01.chlor
B4 | sample 2.library.chlor
B5 | sample 2.1.chlor
B6 | sample 2.01.chlor
B7 | sample 3.library.chlor
B8 | sample 3.1.chlor
B9 | sample 3.01.chlor
B10 | sample 4.library.chlor
B11 | sample 4.1.chlor
B12 | sample 4.01.chlor
C1 | sample 1.library.bact
C2 | sample 1.1.bact
C3 | sample 1.01.bact
C4 | sample 2.library.bact
C5 | sample 2.1.bact
C6 | sample 2.01.bact
C7 | sample 3.library.bact
C8 | sample 3.1.bact
C9 | sample 3.01.bact
C10 | sample 4.library.bact
C11 | sample 4.1.bact
C12 | sample 4.01.bact
D1 | sample 1.library.fung
D2 | sample 1.1.fung
D3 | sample 1.01.fung
D4 | sample 2.library.fung
D5 | sample 2.1.fung
D6 | sample 2.01.fung
D7 | sample 3.library.fung
D8 | sample 3.1.fung
D9 | sample 3.01.fung
D10 | sample 4.library.fung
D11 | sample 4.1.fung
D12 | sample 4.01.fung
E1 | sample 5.library.nuclear
E2 | sample 5.1.nuclear
E3 | sample 5.01.nuclear
E4 | sample 6.library.nuclear
E5 | sample 6.1.nuclear
E6 | sample 6.01.nuclear
E7 | sample 7.library.nuclear
E8 | sample 7.1.nuclear
E9 | sample 7.01.nuclear
E10 | Nucl Neg
F1 | sample 5.library.chlor
F2 | sample 5.1.chlor
F3 | sample 5.01.chlor
F4 | sample 6.library.chlor
F5 | sample 6.1.chlor
F6 | sample 6.01.chlor
F7 | sample 7.library.chloro
F8 | sample 7.1.chlor
F9 | sample 7.01.chlor
F10 | Chloro Neg
G1 | sample 5.library.bact
G2 | sample 5.1.bact
G3 | sample 5.01.bact
G4 | sample 6.library.bact
G5 | sample 6.1.bact
G6 | sample 6.01.bact
G7 | sample 7.library.bact
G8 | sample 7.1.bact
G9 | sample 7.01.bact
G10 | Bact Neg
H1 | sample 5.library.fung
H2 | sample 5.1.fung
H3 | sample 5.01.fung
H4 | sample 6.library.fung
H5 | sample 6.1.fung
H6 | sample 6.01.fung
H7 | sample 7.library.fung
H8 | sample 7.1.fung
H9 | sample 7.01.fung
H10 | Fungi Neg

## Raw qPCR data
Experiment: Name
Include | Color | Pos | Name | Ct | Concentration | Standard | Status
TRUE |  | A1 | [5 empty] | Data from real-time qPCR should be pasted on this worksheet.
TRUE |  | A2 | [5 empty] | Ct values are used to calculate all 7 samples.
TRUE |  | A3 | [5 empty] | Following the plate layout is essential.
TRUE |  | A4 | [5 empty] | Double check that well position is correct.
TRUE |  | A5
TRUE |  | A6
TRUE |  | A7
TRUE |  | A8
TRUE |  | A9
TRUE |  | A10
TRUE |  | A11
TRUE |  | A12
TRUE |  | B1
TRUE |  | B2
TRUE |  | B3
TRUE |  | B4
TRUE |  | B5
TRUE |  | B6
TRUE |  | B7
TRUE |  | B8
TRUE |  | B9
TRUE |  | B10
TRUE |  | B11
TRUE |  | B12
TRUE |  | C1
TRUE |  | C2
TRUE |  | C3
TRUE |  | C4
TRUE |  | C5
TRUE |  | C6
TRUE |  | C7
TRUE |  | C8
TRUE |  | C9
TRUE |  | C10
TRUE |  | C11
TRUE |  | C12
TRUE |  | D1
TRUE |  | D2
TRUE |  | D3
TRUE |  | D4
TRUE |  | D5
TRUE |  | D6
TRUE |  | D7
TRUE |  | D8
TRUE |  | D9
TRUE |  | D10
TRUE |  | D11
TRUE |  | D12
TRUE |  | E1
TRUE |  | E2
TRUE |  | E3
TRUE |  | E4
TRUE |  | E5
TRUE |  | E6
TRUE |  | E7
TRUE |  | E8
TRUE |  | E9
TRUE |  | E10
TRUE |  | E11
TRUE |  | E12
TRUE |  | F1
TRUE |  | F2
TRUE |  | F3
TRUE |  | F4
TRUE |  | F5
TRUE |  | F6
TRUE |  | F7
TRUE |  | F8
TRUE |  | F9
TRUE |  | F10
TRUE |  | F11
TRUE |  | F12
TRUE |  | G1
TRUE |  | G2
TRUE |  | G3
TRUE |  | G4
TRUE |  | G5
TRUE |  | G6
TRUE |  | G7
TRUE |  | G8
TRUE |  | G9
TRUE |  | G10
TRUE |  | G11
TRUE |  | G12
TRUE |  | H1
TRUE |  | H2
TRUE |  | H3
TRUE |  | H4
TRUE |  | H5
TRUE |  | H6
TRUE |  | H7
TRUE |  | H8
TRUE |  | H9
TRUE |  | H10
TRUE |  | H11
TRUE |  | H12

## Sample 1
| Sample 1: |  | sample 1
100% library
Primer set | Name | Ct | 10% dilution delay (3.32 expected) | Reliability of Ct (vs. control) | Min reliable Ct: | no good value | [unreliable shaded]
Plant nuclear DNA (tRNA-His) | 100% library | 0 |  | Do not trust value |  | Cycles after min Ct | DNA Copies Relative to Max
| 10% dilution | 0 | 0 | Do not trust value | Plant nuclear | #VALUE! | #VALUE!
| 1% dilution | 0 | 0 | Do not trust value | Chloroplast | #VALUE! | #VALUE!
| Negative control | 0 |  |  | Bacteria | #VALUE! | #VALUE!
[5 empty] | Fungi | #VALUE! | #VALUE!
Plant chloroplast DNA (rbcL) | 100% library | 0 |  | Do not trust value
| 10% dilution | 0 | 0 | Do not trust value |  | 10% library
| 1% dilution | 0 | 0 | Do not trust value | Min reliable Ct: | no good value | [unreliable shaded]
| Negative control | 0 |  |  |  | Cycles after min Ct | DNA Copies Relative to Max
[5 empty] | Plant nuclear | #VALUE! | #VALUE!
Bacteria DNA (16S rRNA) | 100% library | 0 |  | Do not trust value | Chloroplast | #VALUE! | #VALUE!
| 10% dilution | 0 | 0 | Do not trust value | Bacteria | #VALUE! | #VALUE!
| 1% dilution | 0 | 0 | Do not trust value | Fungi | #VALUE! | #VALUE!
| Negative control | 0
1% library
Fungi DNA (18S rRNA) | 100% library | 0 |  | Do not trust value | Min reliable Ct: | no good value | [unreliable shaded]
| 10% dilution | 0 | 0 | Do not trust value |  | Cycles after min Ct | DNA Copies Relative to Max
| 1% dilution | 0 | 0 | Do not trust value | Plant nuclear | #VALUE! | #VALUE!
| Negative control | 0 |  |  | Chloroplast | #VALUE! | #VALUE!
[5 empty] | Bacteria | #VALUE! | #VALUE!
[5 empty] | Fungi | #VALUE! | #VALUE!

## Sample 2
| Sample 2: |  | sample 2
100% library
Primer set | Name | Ct | 10% dilution delay (3.32 expected) | Reliability of Ct (vs. control) | Min reliable Ct: | no good value | [unreliable shaded]
Plant nuclear DNA (tRNA-His) | 100% library | 0 |  | Do not trust value |  | Cycles after min Ct | DNA Copies Relative to Max
| 10% dilution | 0 | 0 | Do not trust value | Plant nuclear | #VALUE! | #VALUE!
| 1% dilution | 0 | 0 | Do not trust value | Chloroplast | #VALUE! | #VALUE!
| Negative control | 0 |  |  | Bacteria | #VALUE! | #VALUE!
[5 empty] | Fungi | #VALUE! | #VALUE!
Plant chloroplast DNA (rbcL) | 100% library | 0 |  | Do not trust value
| 10% dilution | 0 | 0 | Do not trust value |  | 10% library
| 1% dilution | 0 | 0 | Do not trust value | Min reliable Ct: | no good value | [unreliable shaded]
| Negative control | 0 |  |  |  | Cycles after min Ct | DNA Copies Relative to Max
[5 empty] | Plant nuclear | #VALUE! | #VALUE!
Bacteria DNA (16S rRNA) | 100% library | 0 |  | Do not trust value | Chloroplast | #VALUE! | #VALUE!
| 10% dilution | 0 | 0 | Do not trust value | Bacteria | #VALUE! | #VALUE!
| 1% dilution | 0 | 0 | Do not trust value | Fungi | #VALUE! | #VALUE!
| Negative control | 0
1% library
Fungi DNA (18S rRNA) | 100% library | 0 |  | Do not trust value | Min reliable Ct: | no good value | [unreliable shaded]
| 10% dilution | 0 | 0 | Do not trust value |  | Cycles after min Ct | DNA Copies Relative to Max
| 1% dilution | 0 | 0 | Do not trust value | Plant nuclear | #VALUE! | #VALUE!
| Negative control | 0 |  |  | Chloroplast | #VALUE! | #VALUE!
[5 empty] | Bacteria | #VALUE! | #VALUE!
[5 empty] | Fungi | #VALUE! | #VALUE!

## Sample 3
| Sample 3: |  | sample 3
100% library
Primer set | Name | Ct | 10% dilution delay (3.32 expected) | Reliability of Ct (vs. control) | Min reliable Ct: | no good value | [unreliable shaded]
Plant nuclear DNA (tRNA-His) | 100% library | 0 |  | Do not trust value |  | Cycles after min Ct | DNA Copies Relative to Max
| 10% dilution | 0 | 0 | Do not trust value | Plant nuclear | #VALUE! | #VALUE!
| 1% dilution | 0 | 0 | Do not trust value | Chloroplast | #VALUE! | #VALUE!
| Negative control | 0 |  |  | Bacteria | #VALUE! | #VALUE!
[5 empty] | Fungi | #VALUE! | #VALUE!
Plant chloroplast DNA (rbcL) | 100% library | 0 |  | Do not trust value
| 10% dilution | 0 | 0 | Do not trust value |  | 10% library
| 1% dilution | 0 | 0 | Do not trust value | Min reliable Ct: | no good value | [unreliable shaded]
| Negative control | 0 |  |  |  | Cycles after min Ct | DNA Copies Relative to Max
[5 empty] | Plant nuclear | #VALUE! | #VALUE!
Bacteria DNA (16S rRNA) | 100% library | 0 |  | Do not trust value | Chloroplast | #VALUE! | #VALUE!
| 10% dilution | 0 | 0 | Do not trust value | Bacteria | #VALUE! | #VALUE!
| 1% dilution | 0 | 0 | Do not trust value | Fungi | #VALUE! | #VALUE!
| Negative control | 0
1% library
Fungi DNA (18S rRNA) | 100% library | 0 |  | Do not trust value | Min reliable Ct: | no good value | [unreliable shaded]
| 10% dilution | 0 | 0 | Do not trust value |  | Cycles after min Ct | DNA Copies Relative to Max
| 1% dilution | 0 | 0 | Do not trust value | Plant nuclear | #VALUE! | #VALUE!
| Negative control | 0 |  |  | Chloroplast | #VALUE! | #VALUE!
[5 empty] | Bacteria | #VALUE! | #VALUE!
[5 empty] | Fungi | #VALUE! | #VALUE!

## Sample 4
| Sample 4: |  | sample 4
100% library
Primer set | Name | Ct | 10% dilution delay (3.32 expected) | Reliability of Ct (vs. control) | Min reliable Ct: | no good value | [unreliable shaded]
Plant nuclear DNA (tRNA-His) | 100% library | 0 |  | Do not trust value |  | Cycles after min Ct | DNA Copies Relative to Max
| 10% dilution | 0 | 0 | Do not trust value | Plant nuclear | #VALUE! | #VALUE!
| 1% dilution | 0 | 0 | Do not trust value | Chloroplast | #VALUE! | #VALUE!
| Negative control | 0 |  |  | Bacteria | #VALUE! | #VALUE!
[5 empty] | Fungi | #VALUE! | #VALUE!
Plant chloroplast DNA (rbcL) | 100% library | 0 |  | Do not trust value
| 10% dilution | 0 | 0 | Do not trust value |  | 10% library
| 1% dilution | 0 | 0 | Do not trust value | Min reliable Ct: | no good value | [unreliable shaded]
| Negative control | 0 |  |  |  | Cycles after min Ct | DNA Copies Relative to Max
[5 empty] | Plant nuclear | #VALUE! | #VALUE!
Bacteria DNA (16S rRNA) | 100% library | 0 |  | Do not trust value | Chloroplast | #VALUE! | #VALUE!
| 10% dilution | 0 | 0 | Do not trust value | Bacteria | #VALUE! | #VALUE!
| 1% dilution | 0 | 0 | Do not trust value | Fungi | #VALUE! | #VALUE!
| Negative control | 0
1% library
Fungi DNA (18S rRNA) | 100% library | 0 |  | Do not trust value | Min reliable Ct: | no good value | [unreliable shaded]
| 10% dilution | 0 | 0 | Do not trust value |  | Cycles after min Ct | DNA Copies Relative to Max
| 1% dilution | 0 | 0 | Do not trust value | Plant nuclear | #VALUE! | #VALUE!
| Negative control | 0 |  |  | Chloroplast | #VALUE! | #VALUE!
[5 empty] | Bacteria | #VALUE! | #VALUE!
[5 empty] | Fungi | #VALUE! | #VALUE!

## Sample 5
| Sample 5: |  | sample 5
100% library
Primer set | Name | Ct | 10% dilution delay (3.32 expected) | Reliability of Ct (vs. control) | Min reliable Ct: | no good value | [unreliable shaded]
Plant nuclear DNA (tRNA-His) | 100% library | 0 |  | Do not trust value |  | Cycles after min Ct | DNA Copies Relative to Max
| 10% dilution | 0 | 0 | Do not trust value | Plant nuclear | #VALUE! | #VALUE!
| 1% dilution | 0 | 0 | Do not trust value | Chloroplast | #VALUE! | #VALUE!
| Negative control | 0 |  |  | Bacteria | #VALUE! | #VALUE!
[5 empty] | Fungi | #VALUE! | #VALUE!
Plant chloroplast DNA (rbcL) | 100% library | 0 |  | Do not trust value
| 10% dilution | 0 | 0 | Do not trust value |  | 10% library
| 1% dilution | 0 | 0 | Do not trust value | Min reliable Ct: | no good value | [unreliable shaded]
| Negative control | 0 |  |  |  | Cycles after min Ct | DNA Copies Relative to Max
[5 empty] | Plant nuclear | #VALUE! | #VALUE!
Bacteria DNA (16S rRNA) | 100% library | 0 |  | Do not trust value | Chloroplast | #VALUE! | #VALUE!
| 10% dilution | 0 | 0 | Do not trust value | Bacteria | #VALUE! | #VALUE!
| 1% dilution | 0 | 0 | Do not trust value | Fungi | #VALUE! | #VALUE!
| Negative control | 0
1% library
Fungi DNA (18S rRNA) | 100% library | 0 |  | Do not trust value | Min reliable Ct: | no good value | [unreliable shaded]
| 10% dilution | 0 | 0 | Do not trust value |  | Cycles after min Ct | DNA Copies Relative to Max
| 1% dilution | 0 | 0 | Do not trust value | Plant nuclear | #VALUE! | #VALUE!
| Negative control | 0 |  |  | Chloroplast | #VALUE! | #VALUE!
[5 empty] | Bacteria | #VALUE! | #VALUE!
[5 empty] | Fungi | #VALUE! | #VALUE!

## Sample 6
| Sample 6: |  | sample 6
100% library
Primer set | Name | Ct | 10% dilution delay (3.32 expected) | Reliability of Ct (vs. control) | Min reliable Ct: | no good value | [unreliable shaded]
Plant nuclear DNA (tRNA-His) | 100% library | 0 |  | Do not trust value |  | Cycles after min Ct | DNA Copies Relative to Max
| 10% dilution | 0 | 0 | Do not trust value | Plant nuclear | #VALUE! | #VALUE!
| 1% dilution | 0 | 0 | Do not trust value | Chloroplast | #VALUE! | #VALUE!
| Negative control | 0 |  |  | Bacteria | #VALUE! | #VALUE!
[5 empty] | Fungi | #VALUE! | #VALUE!
Plant chloroplast DNA (rbcL) | 100% library | 0 |  | Do not trust value
| 10% dilution | 0 | 0 | Do not trust value |  | 10% library
| 1% dilution | 0 | 0 | Do not trust value | Min reliable Ct: | no good value | [unreliable shaded]
| Negative control | 0 |  |  |  | Cycles after min Ct | DNA Copies Relative to Max
[5 empty] | Plant nuclear | #VALUE! | #VALUE!
Bacteria DNA (16S rRNA) | 100% library | 0 |  | Do not trust value | Chloroplast | #VALUE! | #VALUE!
| 10% dilution | 0 | 0 | Do not trust value | Bacteria | #VALUE! | #VALUE!
| 1% dilution | 0 | 0 | Do not trust value | Fungi | #VALUE! | #VALUE!
| Negative control | 0
1% library
Fungi DNA (18S rRNA) | 100% library | 0 |  | Do not trust value | Min reliable Ct: | no good value | [unreliable shaded]
| 10% dilution | 0 | 0 | Do not trust value |  | Cycles after min Ct | DNA Copies Relative to Max
| 1% dilution | 0 | 0 | Do not trust value | Plant nuclear | #VALUE! | #VALUE!
| Negative control | 0 |  |  | Chloroplast | #VALUE! | #VALUE!
[5 empty] | Bacteria | #VALUE! | #VALUE!
[5 empty] | Fungi | #VALUE! | #VALUE!

## Sample 7
| Sample 7: |  | sample 7
100% library
Primer set | Name | Ct | 10% dilution delay (3.32 expected) | Reliability of Ct (vs. control) | Min reliable Ct: | no good value | [unreliable shaded]
Plant nuclear DNA (tRNA-His) | 100% library | 0 |  | Do not trust value |  | Cycles after min Ct | DNA Copies Relative to Max
| 10% dilution | 0 | 0 | Do not trust value | Plant nuclear | #VALUE! | #VALUE!
| 1% dilution | 0 | 0 | Do not trust value | Chloroplast | #VALUE! | #VALUE!
| Negative control | 0 |  |  | Bacteria | #VALUE! | #VALUE!
[5 empty] | Fungi | #VALUE! | #VALUE!
Plant chloroplast DNA (rbcL) | 100% library | 0 |  | Do not trust value
| 10% dilution | 0 | 0 | Do not trust value |  | 10% library
| 1% dilution | 0 | 0 | Do not trust value | Min reliable Ct: | no good value | [unreliable shaded]
| Negative control | 0 |  |  |  | Cycles after min Ct | DNA Copies Relative to Max
[5 empty] | Plant nuclear | #VALUE! | #VALUE!
Bacteria DNA (16S rRNA) | 100% library | 0 |  | Do not trust value | Chloroplast | #VALUE! | #VALUE!
| 10% dilution | 0 | 0 | Do not trust value | Bacteria | #VALUE! | #VALUE!
| 1% dilution | 0 | 0 | Do not trust value | Fungi | #VALUE! | #VALUE!
| Negative control | 0
1% library
Fungi DNA (18S rRNA) | 100% library | 0 |  | Do not trust value | Min reliable Ct: | no good value | [unreliable shaded]
| 10% dilution | 0 | 0 | Do not trust value |  | Cycles after min Ct | DNA Copies Relative to Max
| 1% dilution | 0 | 0 | Do not trust value | Plant nuclear | #VALUE! | #VALUE!
| Negative control | 0 |  |  | Chloroplast | #VALUE! | #VALUE!
[5 empty] | Bacteria | #VALUE! | #VALUE!
[5 empty] | Fungi | #VALUE! | #VALUE!