## S3 Table (revise)
S3 Table. Calibration to determine the analyte concentration in urine and extraction recovery.
Coumpound | Polynomial expression | Range (nM) | Correlation coeffcient (R2) | Recovery (%)
10-HDoHE | y = 1,028,392.1559 x0.9821 | 0.01-1000 | 0.9885 | 22.0933
11,12-DiHETrE | y = 1,598,099.8401 x0.9062 | 0.01-1000 | 0.994 | 14.3706
11,12-EET | y = 712916x0.9521 | 0.01-1000 | 0.9947 | 25.6006
11-Dehydro-TXB2 | y = 384092x0.9987 | 0.04-1000 | 0.9874 | 47.784
12-HEPE | y = 708768x0.9875 | 0.04-1000 | 0.9884 | 34.003
12-HETE | y = 816,089.6418 x1.0097 | 0.01-1000 | 0.9897 | 34.79
14-15-DiHETrE | y = 1,362,065.3606 x0.9693 | 0.01-1000 | 0.9825 | 25.0476
14-15-EET | y = 670200x0.9373 | 0.01-1000 | 0.9934 | 29.0999
14-HDoHE | y = 327329x0.9675 | 0.01-1000 | 0.9963 | 19.5854
15-HETE | y = 708469x0.9385 | 0.01-1000 | 0.9956 | 32.983
20-HDoHE | y = 399597x0.9982 | 0.04-1000 | 0.9949 | 35.0998
2-3-Dinor-8-iso-PGF2a | y = 816447x0.9408 | 0.01-1000 | 0.9938 | 62.7195
5,6-DiHETrE | y = 851818x0.9474 | 0.01-1000 | 0.9955 | 39.659
5,6-EET | y = 138014x0.9608 | 0.01-1000 | 0.9879 | 90.282
5-HEPE | y = 1,022,293.5646 x0.9518 | 0.01-1000 | 0.9938 | 43.9481
5-HETE | y = 1,114,593.4881 x0.9854 | 0.01-1000 | 0.9906 | 32.0098
8,9-DiHETrE | y = 1,113,591.5545 x0.9092 | 0.01-1000 | 0.9944 | 19.181
8-HETE | y = 896855x0.9629 | 0.04-1000 | 0.99 | 37.6543
9-HODE | y = 947421x0.9548 | 0.04-1000 | 0.9939 | 30.6149
9-HOTrE | y = 1,043,529.8569 x0.9372 | 0.01-1000 | 0.9917 | 54.5293
9-KODE | y = 282385x0.9811 | 0.04-1000 | 0.9981 | 21.9533
AA | y = 171191x0.9076 | 0.04-1000 | 0.9891 | 13.8215
DHA | y = 240590x1.0695 | 0.04-1000 | 0.9808 | 13.318
DPA | y = 340,415.3396 x0.9120 | 0.04-1000 | 0.9922 | 17.3076
EPA | y = 442173x0.9774 | 0.01-1000 | 0.9983 | 28.8276
Prostaglandin F2a | y = 549282x0.9688 | 0.01-1000 | 0.9827 | 47.3456
Tetranor PGDM | y = 848733x0.9039 | 0.04-1000 | 0.9947 | 24.0939
Trans-EKODE | y = 1,219,384.3746 x0.9653 | 0.01-1000 | 0.9814 | 50.8774
The list shows polynomial expressions of the approximate fitting curve, calibration ranges (nM/injection sample), correlation coefficient (R2), and extraction recovery (percent of the peak area of the compounds spiked after the extraction/ the peak area of the compounds without extraction, expressed as a percentage). y: internal standard (IS)-normalized peak areas, x: concentration of analytes.